## Sippy Downs Depot
Contract Name: Shed Refurbishment - Sippy Downs Depot
Contract Number: Q
Schedule 6 - Appendix 2 - Pricing Schedule
Shed Refurbishment - Sippy Downs Depot
This is a lump sum contract. This is not a schedule of rates contract. If tendering for this Separable Portion, Respondents must submit a lump sum price for the entire works required for successful completion of this Separable Portion. Respondents must complete the Pricing Breakdown, indicating the amounts and price for each line Item in the schedule. While Council may provide estimates for the quantity of line Items in the Pricing Breakdown, these are estimates of quantity only and should not be relied upon as the actual quantity of the Item required. Identification of the quantity required and the price for each Item is the absolute responsibility of the Respondent. Respondents are advised the Pricing Breakdown will be used to provide a guide for progress payments and will be relied upon in the event of any contract variations.
Item | Description | Total (Excl GST)
1 | Preliminaries
1.01 | Site Establishment (construction signs, temporary fencing/barricades, amenities, insurances, inspections, and attendance to client requirements). | 0
1.02 | Environmental Management: Dust and noise management including design, installation, operation, management and maintenance in accordance with the Contract Standards. | 0
1.03 | Cleaning and Demobilising: Builders clean and detailed final clean, and make good affected existing facilities and infrastructure. | 0
1.04 | Supervision of site including all contractor management staffing required allowing for all necessary insurances, submissions, site diary records, providing notice for inspections, conducting site meetings and the like. | 0
Sub Total GST Exclusive |  | 0
2 | Demolition
2.01 | Remove all existing urinals, showers and hand basins and cap redundant services. | 0
2.02 | Remove and dispose of existing sanitary drainage and penetrations through masonry walls. | 0
2.03 | Remove and dispose of existing cladding (internal and external) and associated stud framing. | 0
2.04 | Remove and dispose of portions of existing masonry wall to allow for new openings. | 0
2.05 | Remove existing ceiling joists and retain for re-use. | 0
2.06 | Remove existing windows and retain for re-use. | 0
2.07 | Remove and dispose of existing doors. | 0
2.08 | Remove and dispose of existing roof sheeting. | 0
2.09 | Treat all existing steel members with wire brush, approved rust converter and an approved protective coating system. Replace deteriorated bolts/nuts as required. | 0
2.1 | Remove redundant floor wastes and provide localised concrete patching to slab as required. | 0
2.11 | Decommission, remove and dispose of existing effluent holding tank. | 0
2.12 | Decommission, remove and dispose of existing fuel bowser isolator and associated circuit protection. | 0
2.13 | Decommission, remove and dispose of existing light and power circuit/equipment and associated circuit protection from pole mounted amenities distribution board servicing existing amenities. Make allowance for removal of catenary service and junction box point of attachment. | 0
2.14 | Decommission, remove and dispose of existing water heater equipment, circuit and associated circuit protection. | 0
2.15 | Disconnect and retain existing fuel bowser circuit, isolator and associated circuit protection from main switchboard. Retain for reconnection to new depot shed distribution board. Fuel bowsers to be kept operational during refurbishment works. | 0
2.16 | Disconnect and retain switchwire and conduit between amenities and shade structure. Retain batten luminaires in shade structure for reconnection to new depot shed distribution board. | 0
2.17 | Investigate circuit in junction box on rear of amenities block to confirm redundancy. Disconnect and remove if redundant. | 0
2.18 | Remove redundant 3 phase GPO on pole mounted distibution board. Seal all penetrations in board and zinc spray earth stake. | 0
| Sub Total GST Exclusive | 0
3 | Flooring
3.01 | Supply and install new floor and skirting tiles to toilet. | 0
3.02 | Provide grouted concrete door threshold ramps to new swing doors and roller doors. | 0
3.03 | Install topping slab to existing set-down areas to match finished floor level. | 0
3.04 | Provide protective floor coating to document storage area. | 0
| Sub Total GST Exclusive | 0
4 | Roofing
4.01 | Supply and install roof sheeting. | 0
4.02 | Supply and install insulation. | 0
4.03 | Supply and install fascias, gutters and downpipes. | 0
| Sub Total GST Exclusive | 0
5 | Electrical
5.01 | Supply and install new 18 pole panel board in landscape storage room of new depot shed. | 0
5.02 | Supply and install new underground 1x2 core & earth 10mm2 submains to new depot shed distribution board from pole mounted distribution board. | 0
5.03 | Supply and install new light & power circuits, fixtures,fittings and associated circuit protection from new distribution board. | 0
5.04 | Re-supply switchwire from new distibution board to existing batten luminaires in shade structure. To be switched with external luminaires via time-clock and PE cell. | 0
5.05 | Resupply existing fuel bowser circuit, isolator and associated circuit protection from distribution board. | 0
5.06 | Supply and install new underground circuit from distribution board to new rainwater tank pump. Coordinate final circuit ratings with equipment provider. | 0
5.07 | Supply and install new underground circuit from distribution board to new septic tank control system. Coordinate final circuit ratings with equipment provider. | 0
| Sub Total GST Exclusive | 0
6 | Plumbing
6.01 | Supply and install new 5,000L water tank, water reticulation lines and signage. | 0
6.02 | Supply and install new electric pressure pump, enclosure and pipework. | 0
6.03 | Supply and install new 4,000L Septic Tank, including sanitary drainage lines. | 0
6.04 | Supply and install new 10,000L Effluent Holding Tank, including sanitary drainage lines, float switch and transmersible level transducer wired to BMS. | 0
6.05 | Supply and install pressure pipe and CAMLOCK system and signage. | 0
6.06 | Supply and install bollard protection to Holding Tank. | 0
| Sub Total GST Exclusive | 0
7 | External Wall Framing and Cladding
7.01 | Supply and install new battens and steel stud frame. | 0
7.02 | Supply and install new ply bracing. | 0
7.03 | Supply and install new external cladding. | 0
7.04 | Supply and install insulation to external walls. | 0
7.05 | Supply and install soffit lining. | 0
7.06 | Supply and install foam infill to wall cladding corrogations. | 0
| Sub Total GST Exclusive | 0
8 | Internal Linings
8.01 | Supply and install new steel stud framed walls | 0
8.02 | Install ceiling joists (reuse of existing) | 0
8.03 | Supply and install new FC linings to walls and ceiling | 0
| Sub Total GST Exclusive | 0
9 | Structural Steel
9.01 | Supply and install new steel struts. | 0
9.02 | Supply and install new steel posts. | 0
| Sub Total GST Exclusive | 0
10 | Windows and Doors
10.01 | Install windows (reuse of existing). | 0
10.02 | Supply and install swing and roller doors. | 0
| Sub Total GST Exclusive | 0
11 | Painting
11.01 | Paint internal linings, cornice, architraves and skirting. | 0
11.02 | Paint external masonry and concrete footings. | 0
11.03 | Paint downpipes. | 0
11.04 | Paint fascias. | 0
11.05 | Paint soffit linings. | 0
11.06 | Paint doors. | 0
| Sub Total GST Exclusive | 0
12 | Fixtures and Fittings
12.01 | Supply and install toilet suite. | 0
12.02 | Suppy and install internal hand basin and tapware. | 0
12.03 | Supply and install toilet roll holder. | 0
12.04 | Supply and install internal mirror. | 0
12.05 | Supply and install floor waste. | 0
12.06 | Supply and install internal soap dispenser. | 0
12.07 | Supply and intsall external sink and tapware. | 0
12.08 | Supply and install hose cocks and associated signage. | 0
| Sub Total GST Exclusive | 0
13 | Testing and Commissioning
13.01 | Prepare an Operation and Maintenance Manual complete with As Construction Drawings. | 0
13.02 | Final testing, commissioning and handover. Provide copies of all testing and commissioning documentation. | 0
| Sub Total GST Exclusive | 0
| Total Lump Sum GST Exclusive | 0
| Total GST | 0
| Total Lump Sum GST Inclusive | 0
Item | Description | Total (Excl GST)
Unmeasured Items Respondents are to allow here for any items not specifically measured above, but which the Respondent deems necessary to complete the works in accordance with the drawings and specification. These items will not necessarily be accepted by the Principal.
0
0
0
0
| Sub Total GST Exclusive | 0
Provisional Items
| If necessary, supply and install new windows. | 0
| If necessary, supply and install new joists. | 0
0
0
| Sub Total GST Exclusive | 0